BIOTECHNOLOGY RESEARCH LABORATORY

| S.No | Name of Equipment | Make &Model | Application |
| --- | --- | --- | --- |
| 1 | High Performance Liquid Chromatography | SHIMADZU & LC2010CHT | Quantitative and qualitative analysis of liquid samples |
| 2 | Biodiesel Rancimat | METROHM & 893PROFESSIONAL BR | Determination of the oxidative stability of biodiesel |
| 3 | Rotary Vacuum Evaporator | EQUITRON & ROUND BATH RUTEUA | Purification of sample after solvent extraction |
| 4 | Accelerated Solvent Extractor | THERMO SCIENTIFIC & DIONEX ASE 150 | Rapid extraction of desired product by use of organic solvent. |
| 5 | Laminar Airflow Chamber | GENUINE | Microbial transfer under sterilized condition |
| 6 | Autoclavable Fermentor | BIOSPIN – OSA &BIO-AGE EQUIPMENT SERVICE | Culturing and harvesting of microbes using fermentation |
| 7 | Large Volume Centrifuge | SCIENCE WORLD(SIGMA) &2-16KL | Separation of substances based on relative density in liquid suspension |
| 8 | Thermomixer | EFFENDORF& THERMOMIXER-C220-240V | Vortexing samples under controlled temperature |
| 9 | Ultra Sonicator | CHEM LABS BANGALORE | Dispersion of liquid using ultrasonic wave bath. |
| 10 | Incubator Shaker | THERMO SCIENTIFIC &SHKE6000-8CE | Maintenance of suspended condition for microbial growth |
| 11 | Fully Automatic Autoclave | EQUITRON | Sterilization of microbial medium |
| 12 | Moisture Analyser | WENSAR & WENSER HMB100 | Determine the amount of moisture content present in any solid or semi solid sample |
| 13 | Tissue Tearor | UNIDRIVE X 1000 & CAT | Disruption of microbial cell wall |
| 14 | Cold Storage Chamber | F-MAXX & SZ-7524-P | It is maintained under 50c, so as to pressure any kind of samples from biological degradation or microbial activity |
| 15 | Fourier Transform Infrared Spectrophotometer | PERKIN ELMER & L160000E | Qualitative assessment of functional groups |
| 16 | TOC analyser | SHIMADZU &TOC-LCPH | Assessment of total carbon and total nitrogen present in liquid sample |
| 17 | COD Digester | MERCK & TR-420 | Simultaneous digestion of 24 samples for COD analysis. |
| 18 | Automatic Organic Waste Convertor Machine (25 KG) | NETAL(India) Ltd & BIOMALI 25S | Produce waste into organic compost or manure. |
| 19 | Elisa Reader | TRIVITRON HEALTH CARE & LDXR1 | Measure antibody test, HIV Detection and Quantification of Nucleic acid. |